## Slide 1
Hands-on: FastQC, fastp
and MultiQC
Applied Bioinformatics · Week 2, Session 2
Department of Biology
Notes: 40 min of slidesutes, and this one is a lab rather than a lecture. Students type along; you type along with them on the projector.
Blocks: setup (8), FastQC (18), fastp (14), long-read QC (14), MultiQC (11), diagnosis (8), wrap (2).
Three checkpoints where students work on their own assigned mystery sample. Those are the point of the session — protect the time for them even if you have to cut explanation.
Have the staged data path and the environment name on the board before anyone sits down. Ten minutes lost to setup is ten minutes of lab.

## Slide 2
How this session works
OPENING
Looking first
2 min
What to check before any tool runs
Reading a FastQC report
9 min
Which red flags are real, and which are the protocol
Trimming
6 min
Why over-trimming is worse than under-trimming
Long reads
8 min
Why FastQC misleads here, and what to use instead
Across samples
4 min
The failures that are only visible with every sample side by side
Diagnosis
8 min
A method for deciding what a bad plot actually means
What you leave with
The judgement to read a QC report rather than collect green ticks.
A vocabulary for naming what is wrong, not just that something is.
The lab that follows is where you run all of this yourself.
This session is the reading. The lab is the doing. Do not type along.
Bring questions from the lab back here — if a plot confused you, it will confuse somebody else.
Notes: 1 min. The last line matters more than it looks. In a follow-along lab, students who fall behind stop typing and start watching, and then learn nothing.
Consider asking people to sit in pairs and agree that one of them will say something when either gets stuck.

## Slide 3
Before any tool: look at the files
SETUP
CHECKPOINT 0
$ ls -lh /shared/courses/appbio/wk2/short/
-r--r--r-- 1 92M sampleA_R1.fastq.gz
-r--r--r-- 1 94M sampleA_R2.fastq.gz ...
$ zcat /shared/courses/appbio/wk2/short/sampleA_R1.fastq.gz | head -n 4
@SRR13320280.1 1 length=151
TTCAGGCGTGAACCACCGCGCCCGGCCTTTTTAAGTAGCTGGGATT...
+
FFFFFFF:FFFFFFFFFFFFFFFF,FFFFFFFFFF:FFF,FF:FFF...
Three questions to answer now
Do R1 and R2 have the same number of reads?
What read length does the header claim?
Are the original instrument headers intact, or stripped by the archive?
$ seqkit stats -a /shared/courses/appbio/wk2/short/*.fastq.gz
That third question has consequences. These headers are accession-based, which means flow cell and lane are gone — so the batch structure you learned to look for on Tuesday is not recoverable from this download.
Notes: 2 min. Let them run it before you say anything.
The stripped-header point is the direct callback to the Mouse ENCODE story from Session 1, and it is a real property of SRA downloads — fasterq-dump replaces headers unless you ask for --original-format. Students find it genuinely annoying, which is the correct reaction.
seqkit stats -a gives N50 and quartiles as well as counts. Point at the columns they will need again for the long reads.

## Slide 4
The traffic lights are a prompt, not a verdict
FASTQC
Pass
Within the expected range for a generic shotgun library.
Warning
Outside it. May be your protocol working exactly as intended.
Fail
Well outside it. Same caveat, more loudly.
The thresholds are hard-coded defaults chosen in 2010 for whole-genome shotgun Illumina data.
They are not calibrated to RNA-seq, to amplicon data, to metagenomes, or to anything enriched or targeted. A green pass on the wrong assay is not reassurance, and a red fail is not a result.
So the question for every module is never “did it pass?” It is:
Is this expected for my assay?
Random hexamer priming, amplicons and enrichment all produce “failures” by design.
Is it this sample or every sample?
One outlier is a sample problem. All of them is a run problem.
Does it change what I do next?
If the answer is no, note it and move on. Not every flag needs an action.
Notes: 2 min. This is the single most important slide in the FastQC block, and it is why students who have used FastQC before still need this session.
The 2010 date is worth saying. FastQC's thresholds have barely changed while the assays have multiplied.
The third question is the practical one. Students new to QC feel obliged to act on every flag, and over-trimming is the result.

## Slide 5
The two modules to read first
FASTQC
Per base sequence quality
A box plot of quality at each position along the read.
What normal looks like
High and flat for most of the read, tapering gently at the 3' end. That taper is dephasing, not damaged DNA — Tuesday's slide 10.
What should worry you
A sudden drop rather than a taper
Low quality at the very start as well as the end
Wide boxes — high variance between reads at one position
R2 much worse than R1 by more than a few points
Per sequence quality scores
A histogram of the mean quality of each whole read.
What normal looks like
One sharp peak, pushed up against the right-hand edge. Most reads should be good; a few are always poor.
What should worry you
A second peak at low quality — a distinct subpopulation of bad reads
A peak that is broad rather than sharp
A peak sitting at Q25 rather than Q35
These two answer different questions. The first asks “where along the read?” The second asks “how many reads?” A second peak in the histogram with a flat per-base plot means a subset of reads failed, not a position.
Notes: 3 min. Have a real report open on the projector and point at both plots as you talk. The slide is the reference; the report is the teaching.
The closing distinction is subtle and genuinely useful — it is how you tell a run-wide chemistry problem from a contaminated subpopulation.
R2 being somewhat worse than R1 is normal on paired-end Illumina. Say how much is normal at your core: usually a few Phred points, not ten.

## Slide 6
Adapter content and overrepresented sequences
FASTQC
Adapter content
A cumulative curve that rises toward the 3' end means your inserts were shorter than your read length, so you sequenced off the end of the fragment and into the adapter.
The action is obvious — trim it. The diagnosis is the interesting part: short inserts usually mean degraded or over-fragmented input, which is worth knowing before you blame the aligner.
Overrepresented sequences
Any sequence making up more than 0.1% of the library, with FastQC's guess at what it is.
The guess is often “No Hit”, which means only that it is not in FastQC's small contaminant list. Copy the sequence and BLAST it — that takes thirty seconds and usually answers the question outright.
What an overrepresented sequence usually turns out to be
rRNA
Ribosomal depletion did not work, or poly-A selection missed. Common in RNA-seq.
Adapter dimers
No insert at all. Library prep problem, and pure wasted sequencing.
The target itself
Entirely expected in amplicon and targeted panels. Not a fault.
Something unidentified
BLAST it. Contamination from another species is a real possibility.
Notes: 1 min. The BLAST advice is the practical one and students rarely think of it. Do it live on a real overrepresented sequence if you have one.
Adapter dimers are worth a sentence because they are pure waste — the library had no insert and you paid to sequence linker.
Row three sets up the next slide: whether a flag is a fault depends entirely on the assay.

## Slide 7
Three modules that alarm and usually should not
FASTQC
Per base sequence content
A wild skew across the first ten to twelve bases, then flat.
Random hexamer priming in RNA-seq. Priming is not uniform, so the first bases are biased. It looks terrible and means nothing. Trimming it throws away real data.
Sequence duplication levels
A large fraction of reads reported as duplicates.
Expected in amplicon libraries, small genomes, and anything sequenced very deeply — at high coverage, identical reads are a statistical certainty, not a sign of PCR.
Per sequence GC content
A distribution that is not a clean normal curve.
FastQC compares against a theoretical normal. A metagenome has no single expected GC, and plenty of organisms are not near 50%. The shape matters; a second peak matters. A warning alone does not.
Each of these is FastQC correctly reporting that your data does not look like a random shotgun library — because it is not one. The tool is right; the interpretation is yours.
Notes: 3 min. The duplication explanation is the one students most often get wrong. At 200x coverage of a small genome, identical reads are unavoidable arithmetic, and deduplicating would destroy the data.
The random-hexamer artefact deserves a proper explanation once. Draw it if it helps: priming is biased by sequence, so position one through twelve carry that bias and nothing downstream does.
Say plainly that ignoring a red X is a legitimate, defensible decision — as long as it is written down with a reason.

## Slide 8
fastp: one pass, several jobs at once
FASTP
Adapter removal
Detects the adapter automatically from the data — you rarely need to supply a sequence.
Quality trimming and filtering
Cuts low-quality tails and drops reads that fall below a threshold.
Length filtering
Removes reads that are too short to align uniquely after trimming.
Poly-G trimming
Two-colour Illumina chemistry reads no signal as G, so dark cycles become runs of G.
Its own QC report
Before-and-after statistics in one HTML file, plus JSON that MultiQC can read.
Why fastp and not Trimmomatic
The older approach was cutadapt for adapters, then Trimmomatic for quality, then FastQC again to check. fastp does all of it in a single pass over the file, detects adapters itself, and hands you the before-and-after comparison for free.
Older protocols and papers still use the old chain. It works. It is just slower and more steps.
The poly-G point is worth remembering: it is a chemistry artefact, not bad DNA, and it appears on NextSeq and NovaSeq data specifically.
Notes: 2 min. The poly-G explanation is a nice concrete callback to Tuesday's platform block: two-colour chemistry encodes G as 'no signal', so when a cluster dies you get G rather than N.
Do not oversell fastp. Trimmomatic is still perfectly good and many labs use it; the argument for fastp is convenience and the built-in report, not correctness.

## Slide 9
The most common mistake is trimming too much
FASTP
What over-trimming costs you
Shorter reads map less uniquely. Aggressive quality cutting biases you toward easy regions. Dropping reads changes your effective depth, and if it drops unevenly across samples it becomes a batch effect you created yourself.
What modern aligners already handle
Soft-clipping deals with low-quality tails perfectly well, and variant callers use base qualities directly. For alignment-based work, adapter removal matters far more than quality trimming.
Four rules that hold up
Always remove adapters
Adapter sequence is not from the genome. It will mismatch or soft-clip and it costs you nothing to remove.
Trim quality lightly, or not at all
For alignment, let the aligner clip. For assembly and k-mer methods, trim more — they have no soft-clipping.
Set a minimum length
Reads under about 30 bp rarely map uniquely and mostly add noise.
Apply identical settings to every sample
Different parameters per sample is a batch effect with extra steps.
Notes: 3 min. The fourth rule is the one that connects to Tuesday: tuning trimming per sample to make each report look nice is a genuinely dangerous habit, because the differences you introduce line up with nothing biological.
The assembly exception in rule two matters for Homework 3 — assemblers and k-mer tools cannot soft-clip, so trimming does real work there.
If a student asks for a specific quality threshold, resist giving one. Ask what they are going to do with the reads.

## Slide 10
Read the before-and-after, not just the after
FASTP
fastp reports | Before | After | What it tells you
Total reads | 1,000,000 | 986,204 | 1.4% dropped. Reasonable. Above ~10% deserves an explanation.
Q30 bases | 93.1% | 96.8% | Improved because the worst tails are gone — not because bases got better.
Adapter-trimmed reads | — | 18.2% | Nearly one read in five ran into adapter. Short inserts.
Mean read length | 151 | 144 | Consistent with trimming a modest amount off the ends.
Duplication | 8.4% | 8.4% | Trimming does not change duplication. If it appears to, check what you did.
The number to watch
Percentage of reads discarded. If it differs a lot between your samples, you have just made them non-comparable, and that difference will follow you into the counts.
A warning about improved metrics
You can make any QC report look excellent by discarding enough data. “Q30 went up” is not evidence of anything on its own — it has to be read next to how much you threw away.
Notes: 1 min. The illustrative numbers are there so students know what shape of answer to expect; their own will differ.
The right-hand card is the important one and it generalises well beyond QC: any metric you can improve by deleting inconvenient data is not a metric you can report alone.
The duplication row is a quiet correctness check — if their duplication changed after trimming, they have probably run the tool twice or mixed up input and output files.

## Slide 11
FastQC is the wrong tool for long reads
LONG-READ QC
It bins by position along the read
That works when every read is 151 bases. When reads range from 200 bp to 200 kb, position 5,000 exists in a handful of reads and the plot is meaningless.
It assumes a uniform length distribution
Length is the headline property of a long-read run, and FastQC has nowhere to show it well.
Its quality thresholds assume Illumina
A perfectly healthy nanopore run with modal quality around Q18 will be red across the board.
It has no concept of yield over time
A pore-based run degrades as pores die. When the yield stopped is a real diagnostic and FastQC cannot see it.
Use these instead
NanoPlot
the standard report: length, quality, yield, and the joint distribution
seqkit stats -a
fast numbers, including read-length N50
chopper / Filtlong
filtering by length and quality, which is the long-read equivalent of trimming
pycoQC if you still have the sequencing summary file
Notes: 2 min. Students will have run FastQC on nanopore data at some point and been confused by the result. Name that experience.
The yield-over-time point is the one with no short-read analogue: a run that produced everything in the first four hours and nothing afterwards had a pore or a library problem, and only a long-read-aware tool shows you that.
Mention that FastQC will happily run on long reads and produce a report. It just will not mean what they think.

## Slide 12
NanoPlot: run it, then read four numbers
LONG-READ QC
DO THIS NOW
$ NanoPlot --fastq /shared/courses/appbio/wk2/long/ont.fastq.gz \
-o qc/nanoplot --threads 8 --N50 --loglength
$ seqkit stats -a /shared/courses/appbio/wk2/long/ont.fastq.gz
Read-length N50
Half your bases sit in reads at least this long. The single most useful number about a long-read run — and not the same as the mean, which is dragged down by short reads.
Median read quality
Modal quality, not mean. Compare against what the chemistry and basecaller should give, which you recorded. You did record it.
Total bases
Divide by your genome size for coverage. This is the number that decides whether an assembly is even worth attempting.
Number of reads over 10 kb
The reads that actually span repeats. A run can have good total yield and almost nothing long.
Mean versus N50
A run with a mean read length of 4 kb and an N50 of 22 kb is a good run with a lot of short junk in it.
A run with a mean of 4 kb and an N50 of 6 kb has no long reads at all, and no amount of depth will fix that.
Same mean. Completely different dataset. Always report N50.
Notes: 2 min. The mean-versus-N50 card is the teaching point. Make them predict which of the two runs they would rather have before you explain.
'You did record it' on the quality row is a deliberate callback to Tuesday's slide about recording basecaller and model. Say it with a slight pause.
The over-10-kb count connects directly to Homework 3: repeat spanning is the entire reason for using long reads.

## Slide 13
The one plot with no short-read equivalent
LONG-READ QC
Length vs. quality, as a 2D density
Every read is a point: read length on one axis, mean quality on the other. NanoPlot draws it as a density plot because there are too many reads to show individually.
What a healthy run looks like
One broad cloud, with quality roughly flat across the length range. Long reads should not be systematically worse than short ones.
What tells you something
A second cloud at low quality, or quality falling off as length increases.
A distinct low-quality cloud
Often a different molecule population — adapter-only reads, or a contaminant with different signal characteristics.
Quality falling with length
The pore or the library struggled with long molecules. Filtering on length alone would keep exactly the worst reads.
Everything short and good
A DNA extraction that sheared. The chemistry worked; the sample preparation did not.
The third one is the most common, and it is a wet-lab result rather than a sequencing result. High molecular weight extraction is the hard part of long-read work.
Notes: 2 min. Have a real NanoPlot length-quality plot on the projector. This slide is a reading guide; the plot is the object.
The second bullet is genuinely subtle and worth stating slowly: if quality falls with length, then a naive 'keep the long reads' filter selects for the worst data you have. That is the argument for Filtlong, which scores length and quality jointly.
The closing line is worth saying to any student planning long-read work for their project.

## Slide 14
Filtering long reads is not trimming
LONG-READ QC
DO THIS NOW
# chopper: filter whole reads by quality and length
$ chopper -q 10 -l 1000 --threads 8 \
< /shared/courses/appbio/wk2/long/ont.fastq.gz | pigz > trim/ont.fq.gz
$ seqkit stats -a trim/ont.fq.gz # what did that cost you?
You discard reads, you do not shorten them
A long read's value is its length. Cutting a low-quality stretch out of the middle would destroy the one property you paid for, so long-read QC keeps or drops whole reads instead.
Think before you set a length threshold
For assembly, long reads are the point, so a minimum of 1 kb is reasonable. But if quality falls with length in your data, filtering hard on length selects for your worst reads. Filtlong scores both together for exactly this reason.
Whatever you choose: run seqkit stats before and after, and record both. “We filtered at Q10 and 1 kb, losing 11% of reads and 4% of bases” is a methods sentence. “We filtered the reads” is not.
Notes: 2 min. The keep-or-drop distinction is the conceptual core of the long-read block. Students who have only done short-read work expect trimming.
Note that the percentage of reads lost and the percentage of bases lost are different numbers, and the second one matters more. Dropping 30% of reads that were all under 1 kb may cost you 3% of bases.
The closing line is the same methods-writing habit as the fastp block. Repetition is intentional.

## Slide 15
Forty samples, and the problem that creates
MULTIQC
The arithmetic
40 samples, paired-end, is 80 FastQC reports. Eleven modules each. That is 880 plots, in 80 separate browser tabs, and you will not open them.
And the failures that matter are the ones you can only see by comparison.
What MultiQC does
Walks a directory, finds output from over a hundred tools, and merges it into one HTML page: a sortable statistics table, and every module overlaid as a single plot with one line per sample.
Three things you can only see in aggregate
One sample with a tenth of the reads
Invisible in its own report — the number looks like a number. Obvious next to 39 others.
Quality that drops for samples 25 to 32
That is not a sample problem. That is a flow cell, or a plate, or a day.
Adapter content correlating with group
Your treated samples had shorter inserts than your controls. That is a batch effect wearing a disguise.
Notes: 1 min. The third example is the one to dwell on — it is Tuesday's confounding lecture appearing as a QC plot, which is exactly how it would appear in real life.
Make the point that MultiQC is not a quality tool. It computes nothing. It is a viewer, and the entire value is that it puts things side by side.

## Slide 16
Start at the general statistics table
MULTIQC
One row per sample, one column per metric, sortable. Click a column header and your outliers move to the top.
Column | Sort by it to find | What you do about it
% Duplication | Libraries with low complexity | Deeper sequencing will not help. Check input amount and PCR cycles.
% GC | A sample that does not belong — contamination, or a swapped sample | Compare against the expected GC for your organism.
Median read length | Samples trimmed differently from the rest | Usually means you applied different parameters. Redo them the same way.
M Seqs | The imbalanced sample that will skew everything downstream | Decide deliberately: re-sequence, subsample the rest, or drop it.
% Failed / warn flags | Which samples need a closer look at all | This is a triage column, not a verdict column.
Then look at the overlaid plots — but look for shape, not for individual lines. One line behaving differently is a sample. A group of lines behaving differently together is a batch, and that is the finding worth chasing.
Notes: 3 min. Demonstrate the sort on a real report. The moment a column is sorted and one sample jumps to the top is what sells MultiQC.
The closing distinction — one line versus a group of lines — is the bridge into the diagnosis block and the single most transferable idea in the session.
If you have a report from a real study with a visible batch, show it here. Nothing teaches this faster.

## Slide 17
A method for deciding what a bad plot means
DIAGNOSIS
1
Is it one sample, or all of them?
One sample is a library or a specimen. All of them is a run, a reagent lot, or a protocol.
2
If it is some of them, which ones?
Sort by the metric, then look at the sample sheet. Do the affected samples share a batch, a plate column, a day, or — worst case — a condition?
3
Is it expected for this assay?
Before calling anything a failure, ask what your protocol should have done to the data. Half of all red flags are the protocol working.
4
Does it change what I do next?
If not, record it and move on. A QC report is not a to-do list.
Step 2 is the one that turns QC from housekeeping into science. It is where a quality plot becomes evidence about your experimental design.
Notes: 2 min. This is the takeaway slide of the session. Everything before it was tool operation; this is the reasoning.
Step 2's worst case — affected samples sharing a condition — is Tuesday's confounding slide arriving through the QC report. If the failing samples are all your treated group, you cannot separate a technical failure from a biological effect.
Step 4 gives permission to do nothing, which beginners need explicitly.

## Slide 18
Four failures, and what each one is
DIAGNOSIS · 1 OF 2
What you see | Almost certainly | What to do
Quality falls off a cliff at one position, in every sample on the run | An instrument or reagent problem partway through the run, not your libraries | Talk to the core before trimming. Trimming hides a problem they need to know about.
Adapter content climbs steeply toward the 3' end | Inserts shorter than the read length — you sequenced off the end of the fragment | Trim with fastp, and note it: short inserts usually mean degraded or over-fragmented input.
High duplication, few unique sequences, low yield | Low library complexity from too little input DNA and too many PCR cycles | More sequencing cannot help. The information is not in the library. Re-prep or accept it.
A second peak in the GC distribution | Two organisms in the tube — contamination, or an unexpected co-culture | Take an overrepresented sequence and BLAST it. Identify before you decide anything.
Row three is the expensive one. Students respond to low yield by asking for another sequencing run, and for an over-amplified library that buys more copies of the same few molecules.
Notes: 2 min. Take them one at a time and ask the room for the diagnosis before you reveal the middle column.
Row one contains a professional lesson worth naming: reporting a run problem to your sequencing core is part of the job, and quietly trimming around it is not.
These four map onto the four mystery samples. Do not say so yet.

## Slide 19
And three that are about the set, not the sample
DIAGNOSIS · 2 OF 2
What you see in MultiQC | What it means | Why it is worse than a failed sample
One sample with a tenth of the reads of its siblings | A pooling or quantification error at library prep | Dropping it changes your n. If it failed for a reason related to your condition, dropping it introduces bias.
Quality or duplication splits the samples into two clean groups | Two batches: two flow cells, two days, two operators, two reagent lots | Check immediately whether that split lines up with your experimental groups. If it does, you are confounded.
Adapter content differs systematically between your conditions | Your groups had different insert size distributions — so different input quality | A technical difference that tracks your biology perfectly. Every downstream difference is now ambiguous.
None of these three is a QC problem. They are experimental design problems that QC happened to reveal.
That is the best possible outcome for a QC report, and the reason to run it before you spend a month on the analysis rather than after.
Notes: 2 min. This closes the loop with Tuesday. Say explicitly that the confounding lecture and this lab are the same subject seen from two sides.
Row three is subtle and worth walking slowly: insert size is a property of input DNA quality, so if your treated samples were extracted on a different day or from more degraded tissue, adapter content becomes a marker of group membership. Nothing downstream can then separate technical from biological.
Now reveal that the four mystery samples correspond to slide 27. Take answers from the room by letter.

## Slide 20
The output of QC is a paragraph, not a folder
DIAGNOSIS
What a QC section actually says
“Reads were assessed with FastQC 0.12.1 and aggregated with MultiQC 1.25. Adapter content rose above 10% after position 120 in all samples, consistent with short inserts; reads were trimmed with fastp 0.24.0 using default parameters plus --detect_adapter_for_pe, removing 1.4–2.2% of reads per sample. Sample D showed 4-fold lower yield and elevated duplication and was retained but flagged. No QC metric separated the treatment groups.”
Five things it has to contain
Tools and versions
So somebody can repeat it.
What you observed
The specific metric, with a number.
What you did about it
And the parameters, exactly.
What you decided not to fix
With the reason. This is the part everyone omits.
Whether anything tracked your design
The sentence a reviewer is actually looking for.
A folder of HTML reports is evidence. It is not a conclusion, and nobody reading your paper will open it. The paragraph is the deliverable.
Notes: 2 min. Read the example paragraph aloud. It is short, specific, and contains a decision — which is what students find hardest to write.
The fourth item is the one to stress: 'we observed X and chose not to act on it because Y' is a stronger sentence than pretending X was not there.
The last sentence of the example paragraph is the Week 2 lecture in eight words. Point at it.

## Slide 21
Three things to leave with
WRAP
1
A red flag is a question, not a verdict
FastQC compares your data to a generic shotgun library it knows nothing about. Ask whether the flag is expected for your assay before you act on it.
2
Trim adapters, and be sparing with everything else
Over-trimming costs real data, and trimming samples differently creates a batch effect you invented yourself.
3
The failures that matter are only visible across samples
One odd line is a sample. A group of lines moving together is a batch — and if that group matches your conditions, QC has just found a design problem.
Homework 2
Pick a public dataset with at least two conditions and three samples each.
Run FastQC, fastp and MultiQC on it.
Write the QC paragraph from slide 29.
Add a written critique of the study's experimental design.
Week 3: genome assembly and annotation — starting with the C. albicans reads you just finished assessing.
Notes: 2 min. Read the three aloud.
Remind them that the design critique is graded as heavily as the QC report, and that Tuesday's five questions are the structure for it.
Last thing to say out loud: if they only remember one, make it number three. Anyone can run FastQC on one sample; noticing that eight samples failed together is the skill.